# Honeywell 1902 CareFusion IMPRESS Setup

Prerequisites and Notes:

- Scanner should be fully charged prior to completing this procedure.

Reset the scanner to factory defaults

After scanning the factory default barcodes reinsert the scanner into the base.

Set the Interface

Scan this barcode to set the scanner for a USB PC keyboard interface.  It also adds a <CR> suffix.

Enable Code 39 full ASCII

Add Carriage Return Suffix

Troubleshooting Barcodes

Basic Scanner Information

Basic Operation:  The scanner is actuated by the trigger or can be programmed to be hands-free.

Installation Steps:  The USB scanner is a plug-n-play device. Insert the USB cable into any available USB port on the PC. The scanner will “beep” when detected by the operating system.